## MainDetector
Module Set	Module	Crate	Croc	Chain	Board	PMT Box #	FEB #	Date installed	Module Type	Weave	Most Recent Modification
Crate 0
MS1	1W	0	1	0	1	247	572364		tracker	Tufts
MS1	2W	0	1	0	2	49	572414	27/9/2017	tracker	Tufts	9/27/17: PMT#1137 was replaced
MS1	3W	0	1	0	3	1369	572980	27/9/2017	tracker	Rutgers	9/27/17: FEB#572362 was replaced due to bad low tripchip5
MS1	4W	0	1	0	4	218	572330		tracker	Tufts
MS1	5W	0	1	0	5	58	573502		tracker	Tufts
MS1	6W	0	1	0	6	1402	573663		tracker	Tufts
MS1	7W	0	1	0	7	1400	573539		tracker	Tufts
MS1	8W	0	1	0	8	1051	573410		tracker	Rutgers
MS1	9W	0	1	0	9	271	572559		tracker	Tufts
MS1	10W	0	1	0	10	126	572571	27/9/2017	tracker	Tufts	9/27/17: FEB#572351 was replaced due to bad low tripchip5
MS2	1W	0	1	1	1	164	573418		tracker	Tufts
MS2	2W	0	1	1	2	1039	572372		tracker	Rutgers
MS2	3W	0	1	1	3	1321	572338		tracker	Rutgers
MS2	4W	0	1	1	4	1359	573360		tracker	Rutgers
MS2	5W	0	1	1	5	258	573355		tracker	Tufts
MS2	6W	0	1	1	6	96	572564	27/9/2017	tracker	Tufts	9/27/17: FEB#572541 was rpelace due to bad low tripchip4
MS2	7W	0	1	1	7	187	572398		tracker	Tufts
MS2	8W	0	1	1	8	100	573365		tracker	Tufts
MS2	9W	0	1	1	9	1112	573103		tracker	Tufts
MS2	10W	0	1	1	10	1183	572962	7/3/2012	tracker	Tufts	12/19/2011; Swap PMT on 3/7/12 for unstable HV
MS3	1W	0	1	2	1	250	572385		tracker	Tufts
MS3	2W	0	1	2	2	214	573529	21/9/2015	tracker	Tufts	Old FEB was 573685. The FEB is good. It was corrupted during v95 download but recovered
MS3	3W	0	1	2	3	1425	573161		tracker	Tufts	04/21/15: swap FEB (old 573265) to new one (573161) because crosstalk Trip-t chip (pixels 48-63).---12/23/10-- Problems in the log entry. 192 was removed and 1425 was installed, see log entry 15008.
MS3	4W	0	1	2	4	158	573674		tracker	Tufts
MS3	5W	0	1	2	5	22	573329		tracker	Tufts
MS3	6W	0	1	2	6	59	573689		tracker	Tufts
MS3	7W	0	1	2	7	1203	572388	17/1/2016	tracker	Tufts	FEB not detected in slowcontrol
MS3	8W	0	1	2	8	161	573682		tracker	Tufts
MS3	9W	0	1	2	9	1001	572956	28/2/2012	tracker	Rutgers	Replaced FEB 12/4/13 because of high pedestals in qlo.
MS3	10W	0	1	2	10	248	573512		tracker	Tufts
MS4	1W	0	1	3	1	159	573691		tracker	Tufts
MS4	2W	0	1	3	2	68	573692		tracker	Rutgers	Old PMT 231 replaced on 10/1/2015, showed gain variation.
MS4	3W	0	1	3	3	23	573413	27/9/2017	tracker	Tufts	9/27/17: PMT#1154 was replaced
MS4	4W	0	1	3	4	285	573400		tracker	Tufts
MS4	5W	0	1	3	5	270	573406		tracker	Tufts
MS4	6W	0	1	3	6	1140	573698		tracker	Tufts
MS1	1E	0	2	0	1	190	572544		tracker	Tufts
MS1	2E	0	2	0	2	1178	572587	2/2/2016	tracker	Tufts	Replaced FEB 572931, HV spikes.
MS1	3E	0	2	0	3	116	573289	21/9/2015	tracker	Tufts	Swaped corrupted FEB 573532 (old) during v95 download
MS1	4E	0	2	0	4	1415	573487	27/9/2017	tracker	Rutgers	Swap with faulty FEB, that kept alternating between a good and bad state. 9/27/17: FEB#572445 was replaced due bad low tripchip5
MS1	5E	0	2	0	5	1104	573168	25/10/2016	tracker	Tufts	Communication Problem FEB 573415
MS1	6E	0	2	0	6	151	573381		tracker	Tufts
MS1	7E	0	2	0	7	257	573407	27/9/2017	tracker	Tufts	9/27/17: FEB#572346 was replaced due to bad low trip chip4
MS1	8E	0	2	0	8	12	572361	26/2/2011	nuclear target	Tufts	Changed FEB (old 573394) due to unstable HV. Disassembly comment: Dummy connected
MS1	9E	0	2	0	9	102	573409		tracker	Tufts
MS1	10E	0	2	0	10	29	573422		tracker	Tufts
MS2	1E	0	2	1	1	189	573100		tracker	Tufts
MS2	2E	0	2	1	2	1223	573108		tracker	Tufts
MS2	3E	0	2	1	3	62	573101		tracker	Tufts
MS2	4E	0	2	1	4	1031	573420		tracker	Rutgers
MS2	5E	0	2	1	5	263	573285		tracker	Tufts
MS2	6E	0	2	1	6	256	573358		tracker	Tufts
MS2	7E	0	2	1	7	1002	573477	23/8/2010	tracker	Rutgers	Faulty Trip 3. Old FEB 572392
MS2	8E	0	2	1	8	165	573224	25/10/2016	nuclear target	Tufts	Communication Problem FEB 573344
MS2	9E	0	2	1	9	1169	572942	10/1/2017	tracker	Tufts
MS2	10E	0	2	1	10	1358	572948	20/12/2011	tracker	Rutgers	Varying HV. Old FEB 573105
MS3	1E	0	2	2	1	1197	573401		tracker	Tufts
MS3	2E	0	2	2	2	255	572565	5/10/2011	tracker	Tufts	Disassembly: 572565 was actually there (not 573112)
MS3	3E	0	2	2	3	209	573510		tracker	Tufts
MS3	4E	0	2	2	4	210	572390		tracker	Tufts
MS3	5E	0	2	2	5	177	573296		tracker	Tufts
MS3	6E	0	2	2	6	153	573452		tracker	Tufts
MS3	7E	0	2	2	7	216	572451		tracker	Tufts
MS3	8E	0	2	2	8	193	573686		tracker	Tufts
MS3	9E	0	2	2	9	284	573690		tracker	Tufts
MS4	1E	0	2	3	1	1158	573696		tracker	Tufts
MS4	2E	0	2	3	2	1107	572911	3/11/2016	tracker	Tufts	Nearline Errors FEB 573681
MS4	3E	0	2	3	3	1119	573471		tracker	Tufts
MS4	4E	0	2	3	4	1118	573496	28/10/2016	tracker	Tufts	Nearline Errors FEB 572556
MS4	5E	0	2	3	5	1147	573396	28/10/2016	tracker	Tufts	Nearline Errors FEB 573380
MS5	1W	0	3	0	1	1219	573384		tracker	Tufts
MS5	2W	0	3	0	2	229	573523		tracker	Tufts
MS5	3W	0	3	0	3	228	573404		tracker	Tufts
MS5	4W	0	3	0	4	1003	573390		tracker	Rutgers
MS5	5W	0	3	0	5	1116	573421		tracker	Tufts
MS5	6W	0	3	0	6	275	573412		tracker	Tufts
MS5	7W	0	3	0	7	16	572368		tracker	Tufts
MS5	8W	0	3	0	8	143	573513		tracker	Tufts
MS5	9W	0	3	0	9	171	572403		tracker	Tufts
MS5	10W	0	3	0	10	227	573515		tracker	Tufts
MS6	1W	0	3	1	1	183	573521		tracker	Tufts	Disassembly comment: Starting here (MS6) after COVID19 break
MS6	2W	0	3	1	2	286	573425		tracker	Tufts
MS6	3W	0	3	1	3	207	573544		tracker	Tufts
MS6	4W	0	3	1	4	61	573551		tracker	Tufts
MS6	5W	0	3	1	5	178	573566		tracker	Tufts
MS6	6W	0	3	1	6	223	573565		tracker	Tufts
MS6	7W	0	3	1	7	254	573430		tracker	Tufts
MS6	8W	0	3	1	8	264	573511		tracker	Tufts
MS6	9W	0	3	1	9	37	573525		tracker	Tufts
MS6	10W	0	3	1	10	97	573516		tracker	Tufts
MS7	1W	0	3	2	1	1322	573549		tracker	Rutgers
MS7	2W	0	3	2	2	142	573560		tracker	Tufts
MS7	3W	0	3	2	3	238	573554		tracker	Tufts
MS7	4W	0	3	2	4	154	573520		tracker	Tufts
MS7	5W	0	3	2	5	1364	573470		tracker	Rutgers	swap FEB (old 573519) to new one (573410) because crosstalk Trip-t chip (pixels 48-63). Disassembly: 573410 was actually 573470 on detector
MS7	6W	0	3	2	6	85	573552		tracker	Tufts
MS7	7W	0	3	2	7	240	573508		tracker	Tufts
MS7	8W	0	3	2	8	1216	573548		tracker	Tufts
MS7	9W	0	3	2	9	200	573557		tracker	Tufts
MS7	10W	0	3	2	10	1360	573231		tracker	Rutgers
MS8	1W	0	3	3	1	181	572450		tracker	Tufts
MS8	2W	0	3	3	2	276	572428		tracker	Tufts
MS8	3W	0	3	3	3	211	573547		tracker	Tufts
MS8	4W	0	3	3	4	239	573555		tracker	Tufts
MS8	5W	0	3	3	5	260	573571		tracker	Tufts
MS8	6W	0	3	3	6	163	572591		tracker	Tufts
MS8	7W	0	3	3	7	146	573563		tracker	Tufts
MS8	8W	0	3	3	8	155	572333		tracker	Tufts
MS8	9W	0	3	3	9	261	572915	9/10/2015	tracker	Tufts	The old FEB is 573545. Dead pixels
MS8	10W	0	3	3	10	1225	573546		tracker	Tufts
MS5	1E	0	4	0	1	168	572950	1/11/2018	tracker	Tufts	Chain errors FEB 572553, 11/1/18 replaced 572970 to fix TxRx error, didn't help
MS5	2E	0	4	0	2	1139	572568	2/11/2018	tracker	Tufts	11/2/18, 573141 or 573579 could cause the TxRx errors on 0-4-0
MS5	3E	0	4	0	3	48	572416	2/11/2018	tracker	Tufts	11/2/18, 573141 or 573579 could cause TxRx error on 0-4-0
MS5	4E	0	4	0	4	1113	572968	2/10/2018	tracker	Tufts	FEB giving a sequence error, stop DAQ, 10/2/18 replace 572322 to fix TxRx error doesn't help
MS5	5E	0	4	0	5	199	573423	2/10/2018	tracker	Tufts	Chain errors FEB 573393, 10/2/18 Replace 572370 to fix TxRx error, doesn't help
MS5	6E	0	4	0	6	198	573658	2/10/2018	tracker	Tufts	Chain errors FEB 572984, 10/2/18 replace 573419 to fix TxRx error, doesn't help
MS5	7E	0	4	0	7	90	572389	10/1/2018	tracker	Tufts	TxRx error, does not fix error, 10/2/18 replace 573309, does not fix TxRx error. Disassembly: 573389 was actually 572389 on detector
MS5	8E	0	4	0	8	233	572457	10/1/2018	tracker	Tufts	previously (before 09-09-2014) FEB board number was 9 --RDF. This error traces back to v5 of this document, then this module set was first incorporated. 10/1/18 replaceemt does not fix TxRx error
MS5	9E	0	4	0	9	221	573562	1/10/2018	tracker	Tufts	previously (before 09-09-2014) FEB board number was 10 --RDF. This error traces back to v5 of this document, when this module set was first incorporated. 1/10/18 replacement doesn't fix TxRx error
MS6	1E	0	4	1	1	33	572394	18/09/2018	tracker	Tufts	old feb 573572 has flaky cat5 connector
MS6	2E	0	4	1	2	287	573569	17/1/2016	tracker	Tufts	January Crisis. Disassembly comment: was 573579 in database, was 573569 on detector
MS6	3E	0	4	1	3	272	573524		tracker	Tufts
MS6	4E	0	4	1	4	280	573522		tracker	Tufts
MS6	5E	0	4	1	5	175	573411		tracker	Tufts
MS6	6E	0	4	1	6	215	573564		tracker	Tufts
MS6	7E	0	4	1	7	197	573570		tracker	Tufts
MS6	8E	0	4	1	8	36	573568		tracker	Tufts
MS6	9E	0	4	1	9	148	573567		tracker	Tufts
MS7	1E	0	4	2	1	243	573664		tracker	Tufts	PMT box practice replacement; replaced 06/27/13 PMT box replacement 03/26/14, FEB swapped 7/24/14
MS7	2E	0	4	2	2	234	573426		tracker	Tufts
MS7	3E	0	4	2	3	182	573561		tracker	Tufts
MS7	4E	0	4	2	4	1365	573556		tracker	Rutgers
MS7	5E	0	4	2	5	1200	573662		tracker	Tufts
MS7	6E	0	4	2	6	1357	573427		tracker	Rutgers
MS7	7E	0	4	2	7	196	573429		tracker	Tufts
MS7	8E	0	4	2	8	1356	573428		tracker	Rutgers
MS7	9E	0	4	2	9	150	572578		tracker	Tufts
MS8	1E	0	4	3	1	202	572391		tracker	Tufts
MS8	2E	0	4	3	2	230	572326		tracker	Tufts
MS8	3E	0	4	3	3	1038	572417		tracker	Rutgers
MS8	4E	0	4	3	4	262	572369		tracker	Tufts	swap feb because crosstalk in the tript-chip (pixels 0-15)
MS8	5E	0	4	3	5	291	573366		tracker	Tufts
MS8	6E	0	4	3	6	99	572945	18/1/2012	tracker	Tufts	HV varying. Old FEB 572360.
MS8	7E	0	4	3	7	92	572460	10/1/2017	tracker	Tufts	Typo in the old FEB, the sheet said 572549, the real number is 572459
MS8	8E	0	4	3	8	60	572367		tracker	Tufts
MS8	9E	0	4	3	9	176	572546		tracker	Tufts
MS9	1W	0	5	0	1	217	572334		tracker	Tufts
MS9	2W	0	5	0	2	188	573463	27/9/2017	tracker	Tufts	9/27/17: FEB#572461 was replaced due to bad low tripchip5
MS9	3W	0	5	0	3	87	572590		tracker	Tufts
MS9	4W	0	5	0	4	28	573319		tracker	Tufts
MS9	5W	0	5	0	5	249	573321		tracker	Tufts
MS9	6W	0	5	0	6	224	573363		tracker	Tufts
MS9	7W	0	5	0	7	191	573453		tracker	Tufts
MS9	8W	0	5	0	8	203	573338		tracker	Tufts
MS9	9W	0	5	0	9	220	572593		tracker	Tufts
MS9	10W	0	5	0	10	1015	573118	25/10/2016	tracker	Tufts	Communication Problem FEB 573445
MS10	1W	0	5	1	1	212	573112	27/9/2017	tracker	Tufts	9/27/17: FEB#572594 was replace ddue to bad low tripchip4
MS10	2W	0	5	1	2	1037	573576		tracker	Rutgers
MS10	3W	0	5	1	3	1370	573334		tracker	Rutgers
MS10	4W	0	5	1	4	1021	572588		tracker	Rutgers
MS10	5W	0	5	1	5	149	572580		tracker	Tufts
MS10	6W	0	5	1	6	88	572584		tracker	Tufts
MS10	7W	0	5	1	7	1046	573318		tracker	Rutgers
MS10	8W	0	5	1	8	1174	572576		tracker	Tufts
MS10	9W	0	5	1	9	93	573122		tracker	Tufts
MS10	10W	0	5	1	10	1034	573447		tracker	Rutgers
MS11	1W	0	5	2	1	185	573336	19/1/2010	tracker	Tufts
MS11	2W	0	5	2	2	241	573352	19/1/2010	tracker	Tufts
MS11	3W	0	5	2	3	1026	573348	19/1/2010	tracker	Rutgers
MS11	4W	0	5	2	4	1033	573693	19/1/2010	tracker	Rutgers
MS11	5W	0	5	2	5	1045	573347	19/1/2010	tracker	Rutgers
MS11	6W	0	5	2	6	1354	573339	19/1/2010	tracker	Rutgers
MS11	7W	0	5	2	7	1373	573629	19/1/2010	tracker	Rutgers
MS11	8W	0	5	2	8	1367	573353	19/1/2010	tracker	Rutgers
MS11	9W	0	5	2	9	180	573345	19/1/2010	tracker	Tufts
MS11	10W	0	5	2	10	1371	573454	19/1/2010	tracker	Tufts
MS12	1W	0	5	3	1	1362	573610	6/11/2009	tracker	Rutgers
MS12	2W	0	5	3	2	195	572422	21/10/2015	tracker	Tufts	PMT Unstable HV 5/1/2012. Old FEB 572920, PMT is showing HV variation, May be FEB is ok. Old PMT 1423 replaced on 10/13/15. PMT 17 was replaced again on 10/16/15. Old FEB 572996 was replaced on 10/21/15.
MS12	3W	0	5	3	3	259	573133	6/11/2009	tracker	Tufts
MS12	4W	0	5	3	4	236	573121	6/11/2009	tracker	Tufts
MS12	5W	0	5	3	5	208	572429	22/10/2015	tracker	Tufts	FEB 573120 replaced on 10/22/15 for one dead channel (32).
MS12	6W	0	5	3	6	1024	572453	23/10/2015	tracker	Rutgers	Replaced FEB 573294 on 10/23/15 due to high RMS in channels 32-63.
MS12	7W	0	5	3	7	1209	573134	6/11/2009	tracker	Tufts
MS12	8W	0	5	3	8	1126	573137	6/11/2009	tracker	Tufts
MS12	9W	0	5	3	9	1036	573291	6/11/2009	tracker	Rutgers
MS12	10W	0	5	3	10	1336	572952	6/11/2009	tracker	Rutgers	40990. Disassembly: unclear in disassembly notes, 1336 (PMT number rubbed out?). Maybe OK, check PMT box
MS9	1E	0	6	0	1	269	573350		tracker	Tufts
MS9	2E	0	6	0	2	246	572572	17/1/2016	tracker	Tufts	January Crisis
MS9	3E	0	6	0	3	156	573234	9/10/2015	tracker	Tufts	Old FEB 573514, Pixel 35 is dead.
MS9	4E	0	6	0	4	14	572549		tracker	Tufts
MS9	5E	0	6	0	5	145	572407		tracker	Tufts
MS9	6E	0	6	0	6	244	572363		tracker	Tufts	Disassemby: 572547 was actually 572363
MS9	7E	0	6	0	7	173	572387		tracker	Tufts
MS9	8E	0	6	0	8	277	573392	27/9/2017	tracker	Tufts	9/27/17: FEB#572438 was replaced due to bad low tripchip 5
MS9	9E	0	6	0	9	162	572589		tracker	Tufts	Disassembly: 572353 was actually 572589
MS10	1E	0	6	1	1	222	572577		tracker	Tufts
MS10	2E	0	6	1	2	251	572595	17/1/2016	tracker	Tufts	January Crisis. Disassembly comment: was 572443 in database, actually 572595 on detector
MS10	3E	0	6	1	3	174	573574		tracker	Tufts
MS10	4E	0	6	1	4	91	573327		tracker	Tufts
MS10	5E	0	6	1	5	213	572395		tracker	Tufts
MS10	6E	0	6	1	6	147	572920	10/1/2017	tracker	Tufts
MS10	7E	0	6	1	7	65	573330		tracker	Tufts
MS10	8E	0	6	1	8	1168	573575		tracker	Tufts
MS10	9E	0	6	1	9	86	573331		tracker	Tufts
MS11	1E	0	6	2	1	1361	573449	19/1/2010	tracker	Rutgers
MS11	2E	0	6	2	2	1355	573435	19/1/2010	tracker	Rutgers
MS11	3E	0	6	2	3	237	573672	19/1/2010	tracker	Tufts
MS11	4E	0	6	2	4	289	573351	19/1/2010	tracker	Tufts
MS11	5E	0	6	2	5	1352	573450	19/1/2010	tracker	Rutgers
MS11	6E	0	6	2	6	1041	573343	19/1/2010	tracker	Rutgers
MS11	7E	0	6	2	7	1050	573437	19/1/2010	tracker	Rutgers
MS11	8E	0	6	2	8	1047	573444	19/1/2010	tracker	Rutgers	40942
MS11	9E	0	6	2	9	247	573189	19/1/2010	tracker	Tufts
MS12	1E	0	6	3	1	1115	573132	6/11/2009	tracker	Tufts
MS12	2E	0	6	3	2	1363	573297	6/11/2009	tracker	Rutgers
MS12	3E	0	6	3	3	1366	573299	6/11/2009	tracker	Rutgers
MS12	4E	0	6	3	4	1189	573131	6/11/2009	tracker	Tufts
MS12	5E	0	6	3	5	1143	573287	6/11/2009	tracker	Tufts
MS12	6E	0	6	3	6	1211	573136	9/11/2009	tracker	Tufts
MS12	7E	0	6	3	7	1202	573135	6/11/2009	tracker	Tufts
MS12	8E	0	6	3	8	1179	573505	6/11/2009	tracker	Tufts
MS12	9E	0	6	3	9	1022	573295	6/11/2009	tracker	Rutgers
MS13	1W	0	7	0	1	1162	573304	2/11/2009	tracker	Tufts
MS13	2W	0	7	0	2	1175	573305	2/11/2009	tracker	Tufts
MS13	3W	0	7	0	3	1206	573303	2/11/2009	tracker	Tufts
MS13	4W	0	7	0	4	1155	573302	2/11/2009	tracker	Tufts
MS13	5W	0	7	0	5	1134	573301	2/11/2009	tracker	Tufts
MS13	6W	0	7	0	6	1145	573283	2/11/2009	tracker	Tufts
MS13	7W	0	7	0	7	1159	573288	6/11/2009	tracker	Tufts
MS13	8W	0	7	0	8	1121	573284	2/11/2009	tracker	Tufts
MS13	9W	0	7	0	9	1207	572396	2/11/2009	tracker	Tufts	Disassembly: was 573106 in DB, 572396 on detector
MS13	10W	0	7	0	10	1221	573281	2/11/2009	tracker	Tufts
MS14	1W	0	7	1	1	1180	573117	29/10/2009	tracker	Tufts
MS14	2W	0	7	1	2	1213	573139	29/10/2009	tracker	Tufts
MS14	3W	0	7	1	3	245	573113	29/10/2009	tracker	Tufts
MS14	4W	0	7	1	4	184	573119	29/10/2009	tracker	Tufts
MS14	5W	0	7	1	5	204	573114	29/10/2009	tracker	Tufts
MS14	6W	0	7	1	6	232	573124	29/10/2009	tracker	Tufts
MS14	7W	0	7	1	7	283	573126	29/10/2009	tracker	Tufts
MS14	8W	0	7	1	8	205	573482	29/10/2009	tracker	Tufts
MS14	9W	0	7	1	9	1160	573129	29/10/2009	tracker	Tufts
MS14	10W	0	7	1	10	1153	573130	29/10/2009	tracker	Tufts
MS15	1W	0	7	2	1	1314	573459	27/10/2009	tracker	Rutgers
MS15	2W	0	7	2	2	1342	573456	27/10/2009	tracker	Rutgers
MS15	3W	0	7	2	3	1102	573442	27/10/2009	tracker	Tufts
MS15	4W	0	7	2	4	242	572339	27/10/2009	tracker	Tufts
MS15	5W	0	7	2	5	252	573473	27/10/2009	tracker	Tufts
MS15	6W	0	7	2	6	267	573110	27/10/2009	tracker	Tufts
MS15	7W	0	7	2	7	235	573467	27/10/2009	tracker	Tufts
MS15	8W	0	7	2	8	268	573465	27/10/2009	tracker	Tufts
MS15	9W	0	7	2	9	1334	573433	27/10/2009	tracker	Rutgers
MS15	10W	0	7	2	10	1350	573405	27/10/2009	tracker	Rutgers	40816, the old number 573462 is wrong, it should be 572462
MS16	1W	0	7	3	1	1372	573536	22/10/2009	tracker	Rutgers
MS16	2W	0	7	3	2	1309	573585	22/10/2009	tracker	Rutgers
MS16	3W	0	7	3	3	169	573583	22/10/2009	tracker	Tufts
MS16	4W	0	7	3	4	281	573581	22/10/2009	tracker	Tufts
MS16	5W	0	7	3	5	288	573584	22/10/2009	tracker	Tufts
MS16	6W	0	7	3	6	206	573649	22/10/2009	tracker	Tufts
MS16	7W	0	7	3	7	290	573661	22/10/2009	tracker	Tufts
MS16	8W	0	7	3	8	1307	573676	22/10/2009	tracker	Rutgers
MS16	9W	0	7	3	9	1368	573580	22/10/2009	tracker	Rutgers
MS16	10W	0	7	3	10	1301	573479	27/9/2010	tracker	Rutgers
MS13	1E	0	8	0	1	1215	573310	2/11/2009	tracker	Tufts
MS13	2E	0	8	0	2	1141	573311	2/11/2009	tracker	Tufts
MS13	3E	0	8	0	3	1108	573306	2/11/2009	tracker	Tufts
MS13	4E	0	8	0	4	1170	573312	2/11/2009	tracker	Tufts
MS13	5E	0	8	0	5	1124	573317	2/11/2009	tracker	Tufts
MS13	6E	0	8	0	6	1217	573313	2/11/2009	tracker	Tufts
MS13	7E	0	8	0	7	1127	573315	2/11/2009	tracker	Tufts
MS13	8E	0	8	0	8	1152	573528	2/11/2009	tracker	Tufts
MS13	9E	0	8	0	9	1142	572427	2/11/2009	tracker	Tufts	Disassmebly: was 572247 in DB, was 572427 on detector
MS14	1E	0	8	1	1	1212	573340	29/10/2009	tracker	Tufts	Disassembly; was 573434 in DB, was actually 573340
MS14	2E	0	8	1	2	1190	573432	29/10/2009	tracker	Tufts
MS14	3E	0	8	1	3	1422	572979	7/3/2012	tracker	Tufts	7-March-12; Unstable HV, PMT replaced 5/1/2012 Unstable HV
MS14	4E	0	8	1	4	1129	573300	29/10/2009	tracker	Tufts
MS14	5E	0	8	1	5	1122	573111	29/10/2009	tracker	Tufts
MS14	6E	0	8	1	6	1335	573286	29/10/2009	tracker	Rutgers
MS14	7E	0	8	1	7	1117	573123	29/10/2009	tracker	Tufts
MS14	8E	0	8	1	8	1054	573474	29/10/2009	tracker	Rutgers
MS14	9E	0	8	1	9	1150	573115	29/10/2009	tracker	Tufts
MS15	1E	0	8	2	1	1227	573675	9/10/2015	tracker	Tufts	Old FEB 572552, pixels 0 to 31 are dead
MS15	2E	0	8	2	2	1188	573440	27/10/2009	tracker	Tufts
MS15	3E	0	8	2	3	1210	573666	27/10/2009	tracker	Tufts
MS15	4E	0	8	2	4	1166	572551	27/10/2009	tracker	Tufts
MS15	5E	0	8	2	5	1204	573446	27/10/2009	tracker	Tufts
MS15	6E	0	8	2	6	1177	573455	27/10/2009	tracker	Tufts
MS15	7E	0	8	2	7	1133	573466	27/10/2009	tracker	Tufts
MS15	8E	0	8	2	8	1218	573468	27/10/2009	tracker	Tufts
MS15	9E	0	8	2	9	1428	573458	10/9/2014	tracker	Rutgers	Previously: Tube #1353 (Rutgers; installed on 10/27/2009). [This box had previously been removed from the detector because of a light leak (3/9/2010). Comments from Lab G spreadsheet: "Long Period ~10000, needs repair but might be ok for the Tesbeam. It does come up on voltage eventually. 09-05-2014 Does not come up in voltage."Cross-talk: 5.9%]. Disassmebly: was 1341 in DB, was actually 1428 on detector
MS16	1E	0	8	3	1	1105	573673	22/10/2009	tracker	Tufts
MS16	2E	0	8	3	2	1182	573670	22/10/2009	tracker	Tufts
MS16	3E	0	8	3	3	1138	573630	22/10/2009	tracker	Tufts
MS16	4E	0	8	3	4	1184	573650	22/10/2009	tracker	Tufts
MS16	5E	0	8	3	5	1312	573671	14/1/2015	tracker	Rutgers	Original on 10/22/2009
MS16	6E	0	8	3	6	1345	573597	22/10/2009	tracker	Rutgers
MS16	7E	0	8	3	7	1300	573656	22/10/2009	tracker	Rutgers
MS16	8E	0	8	3	8	1302	572376	9/12/2015	tracker	Rutgers	FEB 573653 replaced on 12/9/15 due to Cross Talk in the trip chips.
MS16	9E	0	8	3	9	1311	573578	22/10/2009	tracker	Rutgers
Crate 1
MS17	1W	1	1	0	1	1167	573608	19/10/2009	tracker	Tufts
MS17	2W	1	1	0	2	1208	573602	19/10/2009	tracker	Tufts
MS17	3W	1	1	0	3	172	572406	19/10/2009	tracker	Tufts
MS17	4W	1	1	0	4	1408	573476	19/10/2009	tracker	Tufts
MS17	5W	1	1	0	5	15	573498	19/10/2009	tracker	Tufts
MS17	6W	1	1	0	6	69	573604	19/10/2009	tracker	Tufts
MS17	7W	1	1	0	7	19	573600	19/10/2009	tracker	Tufts
MS17	8W	1	1	0	8	57	573492	19/10/2009	tracker	Tufts
MS17	9W	1	1	0	9	1042	573599	19/10/2009	tracker	Rutgers
MS17	10W	1	1	0	10	1346	573609	19/10/2009	tracker	Rutgers
MS18	1W	1	1	1	1	1331	573374	14/10/2009	tracker	Rutgers
MS18	2W	1	1	1	2	1106	573601	14/10/2009	tracker	Tufts
MS18	3W	1	1	1	3	1326	573614	14/10/2009	tracker	Rutgers
MS18	4W	1	1	1	4	1131	573648	14/10/2009	tracker	Tufts
MS18	5W	1	1	1	5	1333	573621	14/10/2009	tracker	Rutgers
MS18	6W	1	1	1	6	1323	573660	14/10/2009	tracker	Rutgers
MS18	7W	1	1	1	7	1191	573260	14/10/2009	tracker	Tufts
MS18	8W	1	1	1	8	1114	573598	14/10/2009	tracker	Tufts
MS18	9W	1	1	1	9	1157	573611	14/10/2009	tracker	Tufts
MS18	10W	1	1	1	10	1136	573669	14/10/2009	tracker	Tufts
MS19	1W	1	1	2	1	1205	573357	7/10/2009	tracker	Tufts
MS19	2W	1	1	2	2	11	572918	2/2/2016	tracker	Tufts	Replaced PMT 1228, period problems
MS19	3W	1	1	2	3	1173	573646	7/10/2009	tracker	Tufts
MS19	4W	1	1	2	4	1135	573248	7/10/2009	tracker	Tufts
MS19	5W	1	1	2	5	1151	573261	7/10/2009	tracker	Tufts
MS19	6W	1	1	2	6	1320	572558	7/10/2009	tracker	Rutgers
MS19	7W	1	1	2	7	1012	573485	7/10/2009	tracker	Rutgers
MS19	8W	1	1	2	8	1130	573622	7/10/2009	tracker	Tufts
MS19	9W	1	1	2	9	1004	573642	7/10/2009	tracker	Rutgers
MS19	10W	1	1	2	10	1176	573251	7/10/2009	tracker	Tufts
MS20	1W	1	1	3	1	1226	573634	2/10/2009	ECAL/tracker	Tufts
MS20	2W	1	1	3	2	1224	573150	2/10/2009	ECAL/tracker	Tufts
MS20	3W	1	1	3	3	1303	573271	2/10/2009	ECAL/tracker	Rutgers
MS20	4W	1	1	3	4	1214	573155	2/10/2009	ECAL/tracker	Tufts
MS20	5W	1	1	3	5	1164	573274	2/10/2009	ECAL/tracker	Tufts
MS20	6W	1	1	3	6	123	573587	2/10/2009	ECAL/tracker	Tufts
MS20	7W	1	1	3	7	1401	573577	2/10/2009	ECAL/tracker	Tufts
MS20	8W	1	1	3	8	1146	573636	2/10/2009	ECAL/tracker	Tufts
MS20	9W	1	1	3	9	1196	573639	2/10/2009	ECAL/tracker	Tufts
MS20	10W	1	1	3	10	1049	573152	2/10/2009	ECAL/tracker	Rutgers
MS17	1E	1	2	0	1	1101	573591	19/10/2009	tracker	Tufts	PMT box practice replacement; replaced 06/27/13
MS17	2E	1	2	0	2	1186	573596	19/10/2009	tracker	Tufts
MS17	3E	1	2	0	3	1329	573595	19/10/2009	tracker	Rutgers
MS17	4E	1	2	0	4	1030	573493	19/10/2009	tracker	Rutgers
MS17	5E	1	2	0	5	1125	573592	19/10/2009	tracker	Tufts
MS17	6E	1	2	0	6	1103	573593	19/10/2009	tracker	Tufts
MS17	7E	1	2	0	7	1156	573588	19/10/2009	tracker	Tufts
MS17	8E	1	2	0	8	1198	573589	19/10/2009	tracker	Tufts
MS17	9E	1	2	0	9	1011	573530	19/10/2009	tracker	Rutgers
MS18	1E	1	2	1	1	1427	572908	14/10/2009	tracker	Tufts	PMT box practice replaced; replaced 07/19/13, old 1181, FEB replaced 12/2/13 to check if that repairs the HV varying issue. PMT Replaced 12/4/13 bc HV varying was not solved via FEB replacement.
MS18	2E	1	2	1	2	1340	573335	14/10/2009	tracker	Rutgers	Disassmebly: was 573644 in DB, 573335 on detector
MS18	3E	1	2	1	3	1032	573643	14/10/2009	tracker	Rutgers
MS18	4E	1	2	1	4	1194	573620	14/10/2009	tracker	Tufts
MS18	5E	1	2	1	5	1172	573647	14/10/2009	tracker	Tufts
MS18	6E	1	2	1	6	1144	573619	14/10/2009	tracker	Tufts
MS18	7E	1	2	1	7	1222	573255	14/10/2009	tracker	Tufts
MS18	8E	1	2	1	8	1319	572997	14/10/2009	tracker	Rutgers	FEB Replacement, jumping gain 03/26/14. Old PMT 1149 replaced 10/1/2015, showed gain variation.
MS18	9E	1	2	1	9	1338	573615	14/10/2009	tracker	Rutgers	Disassembly: PMT was 1138 in DB, 1338 on detector
MS19	1E	1	2	2	1	134	573618	7/10/2009	tracker	Tufts	Disassembly: 573624 in DB, 573618 on detector
MS19	2E	1	2	2	2	140	573678	17/1/2016	tracker	Tufts	January Crisis. Disassembly: 573335 in DB, 573678 on detector
MS19	3E	1	2	2	3	1185	572444	7/10/2009	tracker	Tufts	573632 has red light
MS19	4E	1	2	2	4	1110	573369	21/12/2018	tracker	Tufts
MS19	5E	1	2	2	5	1305	573677	7/10/2009	tracker	Rutgers
MS19	6E	1	2	2	6	1048	573537	7/10/2009	tracker	Rutgers
MS19	7E	1	2	2	7	1316	573626	17/1/2016	tracker	Rutgers	January Crisis. Disassembly: 572388 in DB, 573626 on detector
MS19	8E	1	2	2	8	1201	573627	7/10/2009	tracker	Tufts
MS19	9E	1	2	2	9	1053	573341	7/10/2009	tracker	Rutgers
MS20	1E	1	6	3	1	1220	573270	2/10/2009	ECAL/tracker	Tufts
MS20	2E	1	6	3	2	1043	573637	2/10/2009	ECAL/tracker	Rutgers
MS20	3E	1	6	3	3	1195	573149	2/10/2009	ECAL/tracker	Tufts
MS20	4E	1	6	3	4	1347	573645	2/10/2009	ECAL/tracker	Rutgers
MS20	5E	1	6	3	5	1315	573259	2/10/2009	ECAL/tracker	Rutgers
MS20	6E	1	6	3	6	1328	573154	2/10/2009	ECAL/tracker	Rutgers
MS20	7E	1	6	3	7	80	573146	25/3/2016	ECAL/tracker	Rutgers	PMT was showing HV residuals, broke the FEB. Disassembly: PMT was 1306 in DB, 80 on detector
MS20	8E	1	6	3	8	1109	573640	2/10/2009	ECAL/tracker	Tufts
MS20	9E	1	6	3	9	1313	573342	2/10/2009	ECAL/tracker	Rutgers
MS21	1W	1	3	0	1	1327	573497	29/9/2009	ECAL	Rutgers
MS21	2W	1	3	0	2	1332	573181	29/9/2009	ECAL	Rutgers
MS21	3W	1	3	0	3	1111	573187	29/9/2009	ECAL	Tufts
MS21	4W	1	3	0	4	1337	572995	29/9/2009	ECAL	Rutgers	Replaced 1/9/14: Would not come up on full voltage.
MS21	5W	1	3	0	5	1052	573185	29/9/2009	ECAL	Rutgers
MS21	6W	1	3	0	6	1317	572909	27/9/2017	ECAL	Rutgers	9-27-17: FEB#572432 was replaced due to a bad low tripchip 5
MS21	7W	1	3	0	7	1330	573679	29/9/2009	ECAL	Rutgers
MS21	8W	1	3	0	8	1123	573186	29/9/2009	ECAL	Tufts
MS21	9W	1	3	0	9	1325	573188	29/9/2009	ECAL	Rutgers
MS21	10W	1	3	0	10	1165	572955	29/9/2009	ECAL	Tufts	Replaced 1/9/14, might not be bad, but was in a bad state after a power cycle of the chain.
MS22	1W	1	3	1	1	35	573494	25/9/2009	ECAL	Tufts
MS22	2W	1	3	1	2	1007	573170	25/9/2009	ECAL	Rutgers
MS22	3W	1	3	1	3	1013	572903	25/9/2009	ECAL	Rutgers	Replaced 2/6/14 because there was one green light on, and the board could not be found by slow control anymore. Resetting did not solve the problem.
MS22	4W	1	3	1	4	1019	572365	25/9/2009	ECAL	Rutgers
MS22	5W	1	3	1	5	1014	573165	25/9/2009	ECAL	Rutgers
MS22	6W	1	3	1	6	1035	572384	27/9/2017	ECAL	Rutgers	FEB573164 replaced on 09/27/17 because of Missed Start Gate
MS22	7W	1	3	1	7	1027	573163	25/9/2009	ECAL	Rutgers
MS22	8W	1	3	1	8	1028	572548	17/1/2016	ECAL	Rutgers	January Crisis. Disassemly: was 572448 in DB, 572548 on detector
MS22	9W	1	3	1	9	1029	573176	25/9/2009	ECAL	Rutgers
MS22	10W	1	3	1	10	1016	573158	25/9/2009	ECAL	Rutgers
MS23	1W	1	3	2	1	167	573212	22/9/2009	HCAL	Tufts
MS23	2W	1	3	2	2	70	573196	22/9/2009	HCAL	Tufts
MS23	3W	1	3	2	3	141	573192	22/9/2009	HCAL	Tufts
MS23	4W	1	3	2	4	1025	573195	22/9/2009	HCAL	Rutgers
MS23	5W	1	3	2	5	1017	572985	22/9/2009	HCAL	Rutgers	Feb #573166 replaced in 07/31/2014because it was causing slowcontrol not to find chain's febs
MS23	6W	1	3	2	6	1023	573162	22/9/2009	HCAL	Rutgers
MS24	1W	1	3	3	1	45	573200	18/9/2009	HCAL	Tufts
MS24	2W	1	3	3	2	71	573204	18/9/2009	HCAL	Tufts
MS24	3W	1	3	3	3	34	573206	18/9/2009	HCAL	Tufts
MS24	4W	1	3	3	4	279	573205	18/9/2009	HCAL	Tufts
MS24	5W	1	3	3	5	72	573201	18/9/2009	HCAL	Tufts
MS24	6W	1	3	3	6	50	573207	18/9/2009	HCAL	Tufts
MS21	1E	1	4	0	1	13	573279	5/10/2018	ECAL	Tufts	10/5/18, 573264 stops DAQ
MS21	2E	1	4	0	2	1187	573258	29/9/2009	ECAL	Tufts	Disassembly: this PMT had tape around the optical fibers
MS21	3E	1	4	0	3	79	573269	29/9/2009	ECAL	Tufts
MS21	4E	1	4	0	4	1010	572410	5/10/2018	ECAL	Rutgers	10/5/18 573273 stops DAQ
MS21	5E	1	4	0	5	18	573461	29/9/2009	ECAL	Rutgers	Disassembly: stuck to unistrut, needed violence. Do not reuse?. PMT was 1040 in DB, 18 on detector. FEB was 572373 in DB, 573461 on detector
MS21	6E	1	4	0	6	1344	573489	17/12/2018	ECAL	Rutgers	573182 "find hardware" fails. Disassembly: stuck to unistrut, needed violence. Do not reuse?
MS21	7E	1	4	0	7	1318	573183	29/9/2009	ECAL	Rutgers
MS21	8E	1	4	0	8	1343	573180	29/9/2009	ECAL	Rutgers
MS21	9E	1	4	0	9	1148	573184	29/9/2009	ECAL	Tufts
MS22	1E	1	4	1	1	103	573156	25/9/2009	ECAL	Tufts
MS22	2E	1	4	1	2	111	573160	25/9/2009	ECAL	Tufts
MS22	3E	1	4	1	3	81	573159	25/9/2009	ECAL	Tufts
MS22	4E	1	4	1	4	67	573177	25/9/2009	ECAL	Tufts
MS22	5E	1	4	1	5	44	573175	25/9/2009	ECAL	Tufts
MS22	6E	1	4	1	6	73	573172	25/9/2009	ECAL	Tufts
MS22	7E	1	4	1	7	78	573171	25/9/2009	ECAL	Tufts
MS22	8E	1	4	1	8	76	573173	25/9/2009	ECAL	Tufts
MS22	9E	1	4	1	9	40	572441	25/9/2009	ECAL	Tufts
MS23	1E	1	4	2	1	129	572377	22/9/2009	HCAL	Tufts	40753
MS23	2E	1	4	2	2	130	572983	22/9/2009	HCAL	Tufts	4/24/2011 ; FEB Replacement, dead channel 03/26/14
MS23	3E	1	4	2	3	137	573193	22/9/2009	HCAL	Tufts
MS23	4E	1	4	2	4	132	572426	22/9/2009	HCAL	Tufts	40657
MS23	5E	1	4	2	5	131	573387	22/9/2009	HCAL	Tufts	40657
MS24	1E	1	4	3	1	120	573509	18/9/2009	HCAL	Tufts	Replaced FEB on 11/14/13 see ECL #29224
MS24	2E	1	4	3	2	105	573214	18/9/2009	HCAL	Tufts	4/24/2011; 1/16/2011 Water Event
MS24	3E	1	4	3	3	133	573197	18/9/2009	HCAL	Tufts
MS24	4E	1	4	3	4	125	572963	18/9/2009	HCAL	Tufts	40896
MS24	5E	1	4	3	5	135	573198	18/9/2009	HCAL	Tufts
MS25	1W	1	5	0	1	95	573148	9/9/2009	HCAL	Tufts
MS25	2W	1	5	0	2	1163	573322	9/9/2009	HCAL	Tufts
MS25	3W	1	5	0	3	83	573145	9/9/2009	HCAL	Tufts
MS25	4W	1	5	0	4	82	573213	9/9/2009	HCAL	Tufts
MS25	5W	1	5	0	5	77	573208	9/9/2009	HCAL	Tufts
MS25	6W	1	5	0	6	20	572566	27/9/2017	HCAL	Tufts	Replaced the FEB 573218 for the 572905. Spikes outside the main peak in HV residuals (process in log 45633), 5/28/15. PMT 74 was replaced on 10/13/15 for HV spikes. , 09/27/17 FEB 572905 replaced because of Missed Start Gate
MS26	1W	1	5	1	1	160	573225	4/9/2009	HCAL	Tufts
MS26	2W	1	5	1	2	84	573242	4/9/2009	HCAL	Tufts
MS26	3W	1	5	1	3	170	573223	4/9/2009	HCAL	Tufts
MS26	4W	1	5	1	4	152	573222	4/9/2009	HCAL	Tufts
MS26	5W	1	5	1	5	89	573243	4/9/2009	HCAL	Tufts
MS26	6W	1	5	1	6	64	573221	4/9/2009	HCAL	Tufts
MS27	1W	1	5	2	1	39	573244	20/8/2009	HCAL	Tufts
MS27	2W	1	5	2	2	1009	573237	20/8/2009	HCAL	Rutgers
MS27	3W	1	5	2	3	98	573238	20/8/2009	HCAL	Tufts
MS27	4W	1	5	2	4	1006	573239	20/8/2009	HCAL	Rutgers
MS27	5W	1	5	2	5	43	573240	20/8/2009	HCAL	Tufts
MS27	6W	1	5	2	6	75	573241	20/8/2009	HCAL	Tufts

MS25	1E	1	6	0	1	110	573538	3/2/2016	HCAL	Tufts	Removed to test, problems with the CROCE
MS25	2E	1	6	0	2	104	572335	19/2/2016	HCAL	Tufts	Trip chip 1 had Xtalk
MS25	3E	1	6	0	3	113	573210	9/9/2009	HCAL	Tufts
MS25	4E	1	6	0	4	109	572592	3/2/2016	HCAL	Tufts	40896, FEB OK, test the chain
MS25	5E	1	6	0	5	127	572455	3/2/2016	HCAL	Tufts	FEB OK, test the chain
MS26	1E	1	6	1	1	106	573219	4/9/2009	HCAL	Tufts
MS26	2E	1	6	1	2	101	573229	4/9/2009	HCAL	Tufts
MS26	3E	1	6	1	3	121	572419	3/2/2016	HCAL	Tufts	FEB OK, test the chain
MS26	4E	1	6	1	4	112	572960	4/9/2009	HCAL	Tufts	40896
MS26	5E	1	6	1	5	114	573220	4/9/2009	HCAL	Tufts
MS27	1E	1	6	2	1	117	572545	19/12/2018	HCAL	Tufts	572927 prob OK, chain giving errors
MS27	2E	1	6	2	2	118	572437	19/12/2018	HCAL	Tufts	572976 killed by HV?
MS27	3E	1	6	2	3	119	572424	17/12/2018	HCAL	Tufts	572916 "find hardware" fails
MS27	4E	1	6	2	4	128	573612	17/12/2018	HCAL	Tufts	572935 in file, not 572555 which fails on "find hardware"
MS27	5E	1	6	2	5	138	572987	19/12/2081	HCAL	Tufts	572430 prob OK chain giving errors
MS0	1W	1	7	0	1	226	573362		tracker	Tufts
MS0	2W	1	7	0	2	41	573109		tracker	Tufts
MS0	3W	1	7	0	3	1412	573402		tracker	Rutgers
MS0	4W	1	7	0	4	157	572352	27/9/2017	tracker	Tufts	old feb (572573) had problems: bad low trip chip
MS0	5W	1	7	0	5	219	573272		tracker	Tufts
MS0	6W	1	7	0	6	1304	573399		tracker	Rutgers
MS0	7W	1	7	0	7	63	573397		tracker	Tufts
MS0	8W	1	7	0	8	1416	573439		tracker	Rutgers
MS0	9W	1	7	0	9	32	572904		tracker	Tufts
MS0	10W	1	7	0	10	124	572585		tracker	Tufts
MS0	1E	1	7	1	1	25	572563		tracker	Tufts
MS0	2E	1	7	1	2	31	572345	9/12/2015	tracker	Tufts	FEB 572379 replaced on 10/23/15 for Bad hit_pixel for >32 channels. FEB 572447 replaced agin on 10/28/15 for same reason. PMT 1100 replaced on 12/9/15 as pixel 2 was giving multiple hits.
MS0	3E	1	7	1	3	10	572397		tracker	Tufts
MS0	4E	1	7	1	4	1414	572371		tracker	Rutgers
MS0	5E	1	7	1	5	47	573389		tracker	Tufts
MS0	6E	1	7	1	6	186	573247		tracker	Tufts
MS0	7E	1	7	1	7	1418	573403		tracker	Rutgers
MS0	8E	1	7	1	8	1419	572977	FEB 04/13/2012	nuclear target	Rutgers	Changed FEB 04/13/2012, PMT 5/1/2012
MS0	9E	1	7	1	9	122	573116		tracker	Tufts	Disassembly: Was labelled 573116
MS0	10E	1	7	1	10	1020	572526		tracker	Rutgers	Disassembly: was labelled 573586
MS-1	1W	1	7	2	1	166	572421	19/10/2015	tracker	Tufts	FEB reset itself for power on configuration, replaced on 9/21/2015. Old FEB 573699. The FEB 573680 was changed again on 10/05/2015, chain failed to download HV config file. FEB 573685 replaced again on 10/19/15. Old PMT 144 was replaced on 10/16/15. The PMT most likely was sending HV arc to FEB which was damaging the FEB.
MS-1	2W	1	7	2	2	1349	573469		tracker	Rutgers
MS-1	3W	1	7	2	3	1406	573500		tracker	Tufts
MS-1	4W	1	7	2	4	1407	573253		tracker	Tufts
MS-1	5W	1	7	2	5	1410	573364		tracker	Tufts
MS-1	6W	1	7	2	6	1404	573228	19/10/2015	tracker	Tufts	Old FEB 572460 replaced on 10/19/15. FEB was replaced twice. Other FEB was 572365.
MS-1	7W	1	7	2	7	1018	573280		tracker	Tufts	Disassembly: Fibre optic cable labelling did not follow the expected for PMT7 and PMT8 (same issue as for MS-1 3E and 4E). Check labels on cables
MS-1	8W	1	7	2	8	1310	573107	4/3/2019	tracker	Rutgers	110930, Unstable HV. Old FEB 573495; 190304, its replacement 572458 unstable too
MS-1	9W	1	7	2	9	265	573354		tracker	Tufts	Disassembly: PMT number wrong, was 256 in database, 265 was the actual number
MS-1	10W	1	7	2	10	30	572425	4/11/2018	tracker	Tufts	Disassembly: FEB number wrong: FEB 572425 is corrected (was 573625). fibre optic was labelled 19 (for reference). N.B. 10W is closest to catwalk on W side. Fibre optic labelled 19FEB replaced 10/22/2014, sending junk data frame? Changed 572911 on 10/01/2015, can't download hv config file. 4/11/18 HV varying.
MS-1	1E	1	7	3	1	1420	572325		tracker	Rutgers	Disassembly: was labelled as 573325
MS-1	2E	1	7	3	2	1132	572906		tracker	Tufts	Disassembly: was labelled as 573326
MS-1	3E	1	7	3	3	179	573478		tracker	Tufts	Disassembly: Fibre optic cable on PMT3 was labelled as PMT 4
MS-1	4E	1	7	3	4	42	572343		tracker	Tufts	Disassembly: Fibre optic cable on PMT4 was labelled as PMT 3
MS-1	5E	1	7	3	5	1171	573359		tracker	Tufts	Disassembly: Possible water damage on FEB
MS-1	6E	1	7	3	6	1403	573153		tracker	Tufts	Disassembly: PMT was 1403 (previously 1402 in database)
MS-1	7E	1	7	3	7	1405	572562		tracker	Tufts
MS-1	8E	1	7	3	8	1413	572575	27/9/2017	nuclear target	Tufts	old feb had bad trip chip 5 (FEB#572375)
MS-1	9E	1	7	3	9	1409	572355		tracker	Tufts	Disasembly: need new label: falling off
MS-1	10E	1	7	3	10	1348	573697		tracker	Tufts

## TestBeam
PMT	Weave	Cross Talk from Debbie's File, if present	Location	Comments on tube	Reason removed from detector	Date Removed	Cross Talk 4nn% 10/13	Cross Talk 4nn% Most Recent	Missing Pixels (n/a = not able to test)	Additional Notes
31	Tufts	-99	Cabinet #1	Reseated HV board 4/26/10, 43% cross-talk?New HV base 1/29/10			37	5.3	0	12-05-2014 New PmT. Remove from MD on 12/9/2015
195	Tufts	9.9	Cabinet #1	Reseated cookie, new HV base board 3/19/10			12	3.4	0	I would like to check this one again with new optical cables… 08-22-2014 No problems found / Placed on the testbeam 2 detector on 03-03-2015
3	Tufts	-99	Dark Box (Bad)	complete tube, unknown status	18				n/a	DECONSTRUCTED AT LAB G. 12/1/2014 strange screws don't let us test it!
1353	Rutgers		Dark Box (Bad)		HV varying problem	10/9/2014				11-07-2014 Inclonclusive tests. See entry 38031 for plots.
192	Tufts	7.9	Dark Box (Bad)	Ribbon cables replaced, new HV base board 1/4/11			7.1	7.1	0	11-19-2014 Light Leak discovered when at the TBII Detector. See entry 38462 for plots. 11-21-2014 New base. Problem persist
1005	Tufts	6.1	Dark Box (Empty)	New fiberweave, reseated cookie 3/4/10			18			10-31-2014 Light Leak, see entry 37815 for plots 11-07-2014 Light Leaking fix fail, see entry 38031 for plots. 11-17-2014 PMT Removed
1339	R	29	Dark Box (Empty)				15	15	n/a	08-21-2014 FEB does not find PMT. Empty Box
66	T	t	Dark Box (Good)	New HV base board 10/26/10	Qhi & Qlow low for channels 32-64	25/10/2010	14	14	0	Qhi and Qlo low for channels 32-64, also qmed is low for same channels. See log entry 29590 for plots. 08-21-2014 Problem Persist. See entry 36870 for plots.
107	T	14.2	Dark Box (Good)	Reseated cookie, inspected weave 3/5/10	HV varying problem	7/3/2012	14	14	0
194	T	19.9	Dark Box (Good)	Reseated cookie 4/30/10, Realigned PMT 5/24/10			12	12	0
253	T	253	Dark Box (Good)	12% cross talk, New fiber weave 3/19/10, New HV base board 9/10/10	Channels 17-19 & 48-63dead.	9/9/2010	12	12	0	No dead Channels, see log 29674 for plots
1193	T	t	FTBF	Good PMT			5.3	5.3	2	09-05-2014 Pixel #19 and 51 are low. See entry 37232 for plots.
94	T	27.7	FTBF	Good PMT			6.1	5.2	2	08-21-2014 Slow to come up on voltage. Pixels 2 and 18 did not came up during LI. See entry 36870 for plots.
1101	T	t	MINERvA Detector	9% cross talk	HV varying problem	1/5/2012	5	5
1342	R	-99	MINERvA Detector	New PMT, new HV base board 10/27/10						On the Detector
1427	R	-99	MINERvA Detector	Good PMT			4.5	4.5
1	T	-99	pmt repair shelf	needs back plate						DECONSTRUCTED AT LAB G
46	T	t	pmt repair shelf	unknown status, not fully assembled	Really bad guy.	9/8/2010				DECONSTRUCTED AT LAB G
MAP 3			pmt repair shelf	unknown status, not fully assembled
MAP 4			pmt repair shelf	unknown status, not fully assembled
MAP 5			pmt repair shelf	complete tube, unknown status
MAP 6			pmt repair shelf	complete tube, unknown status
MAP 8			pmt repair shelf	complete tube, unknown status
11	T	19	TB2 Detector	Reseated cookie, collar damaged 4/22/10			16	5.3	1	check again with a new optical cable? 08-21-2014 No problems 10-30-2014 Pixel #43 is low
80	T	24.6	TB2 Detector	New PMT, HV base board 10/28/10			4.8	4.8	0
4	R	-99	TB2 Detector	Good PMT			5.8	5.8	0
9	T	-99	TB2 Detector	New HV base board 10/26/10	Qhi & Qlo dead for channels 57-60	25/10/2010	6.7	6.7	0	No Dead Pixels, see Log entry 30073 for plots.
17	T	6.5	TB2 Detector	Good PMT			5.7	5.7	0
18	T	-99	TB2 Detector	Reseated cookie 6/11/10			47	6	0	24-11-2014 New PMT.
20	T	-99	TB2 Detector	New HV base board 11/14/09			5.5	5.5	0
21	T	43.8	TB2 Detector	New PMT, new HV base board 10/27/10			5.3	5.3	0	08-25-2014 Slow to come up on voltage
23	T	t	TB2 Detector	New PMT 10/27/10	High x-talk.	9/8/2010	4.9	4.9	0
24	T	21.4	TB2 Detector	Reseated 3/9/10			21	5.9	1	08-21-2014 FEB does not find PMT 11-17-2014 New PMT. Pixel #56 low. See entry 38406 for plots.
26	T	10.77	TB2 Detector	New HV base board 9/9/10	Channels 46-21 & 48-63bad	9/9/2010	9	8.3	0	No Low Channels. See Log entry 29671 for Plots.
27	R	t	TB2 Detector	New fiber weave 3/9/10	A cable fell out of PMT box	6/4/2011	9.6	9.6	0
38	R	-99	TB2 Detector	Good PMT			8.7	8.7	0	large black extension with white plastic pieces that help guide the FEB into place.
49	T	t	TB2 Detector	New PMT, new HV base board 10/27/10			5	5	0
68	R	-99	TB2 Detector	New HV base 3/5/10, 4/29/10,Reseated cookie 3/5/10, reach full HV?			20	5.7	0	Slow to come up on voltage. 08-21-2014 The PMT came up on voltage normally
115	T	9.6	TB2 Detector	Reseated cookie 3/11/10, PMT swap, new HV base board 5/25/10			19			08-21-2014 FEB does not find PMT 11-17-2014 New PMT. Light Leak. See entry 38404 for plots.
136	T	t	TB2 Detector	Reseated cookie 10/3/10			15	6.5	0	08-21-2014 New PMT
139	T	t	TB2 Detector	New PMT, HV base board 10/28/10			5.1	5.1	2	08-25-2014 Pixel #2 and #58 are low. See entry 36957 for plots.
166	T	20.8	TB2 Detector	PMT alignment, reseated cookie 3/11/10			15	5.4	0	08-21-2014 New PMT
201	T	-99	TB2 Detector	Good PMT			7.9	7.9	0
225	T	19.6	TB2 Detector	Reseated cookie 2/24/10, 3/10/10			17	4.9	0	08-21-2014 New PMT
266	T	24.2	TB2 Detector	New PMT, HV base board 10/28/10			4.8	4.8	0
273	R	t	TB2 Detector	9% cross talk, reseated cookie 4/22/10, New HV base board 9/9/10	Channels 27-31 & 48-63dead.	9/9/2010	9.5	9.5	0	No dead Channels, see log 29677 for plots
278	T	18.6	TB2 Detector	Reseated cookie, new HV base board 5/20			15	6	0	08-21-2014 New PMT
1008	R	t	TB2 Detector	New PMT, new HV base board 5/20/10	HV varying problem	2/4/2010	13	6.3	0	08-21-2014 Slow to come up on voltage
1044	R	t	TB2 Detector	10% cross talk	HV varying problem	1/5/2012	5	5	0
1128			TB2 Detector		Removed from detector to test PMT boxes that had HV varying problems and were "fixed." This PMT has no problems.		6	6	0
1161			TB2 Detector		Removed from detector to test PMT boxes that had HV varying problems and were "fixed." This PMT has no problems.		4.8	4.8	0	09-05-2014 Slow to come up on voltage
1181			TB2 Detector		Removed from detector to test PMT boxes that had HV varying problems and were "fixed." This PMT has no problems.		5.8	5.8	0
1192	T	26	TB2 Detector	New fiber weave, PMT realigned 2/25/10	HV varying problem	1/5/2012	7.8	7.8	1	08-25-2014 Pixel #60 low. See entry 36957 for plots. / 03-03-2015 Removed from the test beam 2 detector, HV varying issue. ECL #41570 #41577
1199	T	t	TB2 Detector	Good PMT	20 dead pixels	17/8/2010	5.4	7.5	1	Pixel #58 is Low. See Log entry 29670 for plots. 08-21-2014 Problem Persist.
1319	R	18.6	TB2 Detector	Reseated cookie, realigned PMT 4/30/10, PMT swapped 5/20/10			23	6	0	Very low period, possible HV varying issue. 08-21-2014 No problem with low period spotted. Light leak at the last pixels. 10-30-2014 No problem to be reported
1324	R	13.75	TB2 Detector				6.2	6.2	0
1351	R	7.1	TB2 Detector	Ribbon cables replaced 1/4/11	HV varying problem	17/12/2010	3.9	3.9	0
1417	R	-99	TB2 Detector	Good PMT			5.3	5.3	0
1421	R	-99	TB2 Detector	Good PMT			5.1	5.1	0
1424	R	-99	TB2 Detector	4.6% cross talk			4.8	4.8	1	08-25-2014 Pixel #51 is low. See entry 36957 for plots.
1426	R	-99	TB2 Detector	Good PMT			5.2	5.2	0	Control PMT, has one low pixel, pixel 37. See log entry 29588 for plots. 08-25-2014 No dead pixel to be spotted.
1429	R	-99	TB2 Detector	Good PMT			4.7	4.7	0	09-05-2014 Slow to come up on voltage
1430	T	-99	TB2 Detector	Good PMT			5.2	5.2	0
1431	T	-99	TB2 Detector	New PMT 10/27/10			5.2	5.2	0
1428	R	-99	Unknown	4.4% cross talk			4.6	4.6		11-21-2014 Not found @Lab G
1411	R	-99	Unknown	41% cross talk			37	37		09-05-2014 Not found @Lab G
243	T	11.4	Unknown	10% cross talk, reseated cookie, 8/31/10			8.6	8.6		09-05-2014 Not found @Lab G
	Less than 2 low pixels and Xtalk < 10%
	2 or more low pixels and Xtalk < 10%
	Light Leak
	MINERvA Detector Spares (Do not take it from Lab G)
	Removed for Main Detector

## LabF
PMT	Weave	Cross Talk from Debbie's File, if present	Location	Comments on tube	Reason removed from detector	Date Removed	Cross Talk 4nn% 10/13	Cross Talk 4nn% Most Recent	Missing Pixels (n/a = not able to test)	Additional Notes
1149	Tufts		LabF	Showed gain variation in MD		1/10/2015
231	Tufts		LabF	Pulled out from MD on 10/1/2015 with PMT 68	HV varying problem	1/10/2015
74	Tufts		LabF	Pulled out from MD on 10/13/2015 replaced with PMT 20 from TB	Spikes outside the main peak in HV residuals	13/10/2015
1423	Tufts		LabF	Pulled out from MD on 10/13/2015 replaced with PMT 17 from TB	High voltage variation. FEB change (log entry 47362) didn't work	13/10/2015
1100	Tufts		LabF	Pulled out from MD on 12/9/2015 replaced with PMT 31 from TB	pixel 2 was giving multiple hits.	9/12/2015